**4-204.119 Warewashing Sinks and Drainboards, Self‑Draining.**

Sinks and drainboards of warewashing sinks and machines shall be self-draining.