|  |
| --- |
| **6-501.14 Cleaning Ventilation Systems, Nuisance and Discharge Prohibition.**  (A) Intake and exhaust air ducts shall be cleaned and filters changed so they are not a source of contamination by dust, dirt, and other materials. |
|  |
| (B) If vented to the outside, ventilation systems may not create a public health hazard or nuisance or unlawful discharge. |