|  |  |  |
| --- | --- | --- |
| ***Accuracy*** |  | **4-203.11 Temperature Measuring Devices, Food.**  (A) Food temperature measuring devices that are scaled only in Celsius or dually scaled in Celsius and Fahrenheit shall be accurate to ±1oC in the intended range of use. Pf |
|  |  |  |
|  |  | (B) Food temperature measuring devices that are scaled only in Fahrenheit shall be accurate to ±2oF in the intended range of use. Pf |