**6-501.18 Cleaning of Plumbing Fixtures.**

Plumbing fixtures such as handwashing sinks, toilets, and urinals shall be cleaned as often as necessary to keep them clean.