|  |
| --- |
| **5-205.15 System Maintained in Good Repair.**  A plumbing system shall be: |
|  |
| (A) Repaired according to law; P and |
|  |
| (B) Maintained in good repair. |