**5-102.13 Sampling.**

Except when used as specified under § 5‑102.12, water from a nonpublic water system shall be sampled and tested at least annually and as required by state water quality regulations. Pf