|  |
| --- |
| **5-205.12 Prohibiting a Cross Connection.**  (A) A person may not create a cross connection by connecting a pipe or conduit between the drinking water system and a nondrinking water system or a water system of unknown quality.P |
|  |
| (B) The piping of a nondrinking water system shall be durably identified so that it is readily distinguishable from piping that carries drinking water. Pf |