|  |
| --- |
| **5-203.13 Service Sink.**  (A) At least 1 service sink or 1 curbed cleaning facility equipped with a floor drain shall be provided and conveniently located for the cleaning of mops or similar wet floor cleaning tools and for the disposal of mop water and similar liquid waste. |
|  |
| (B) Toilets and urinals may not be used as a service sink for the disposal of mop water and similar liquid waste. |