**4-204.16 Beverage Tubing, Separation.**

*Except for cold plates that are constructed integrally with an ice storage bin*, beverage tubing and cold-plate beverage cooling devices may not be installed in contact with stored ice.