**5-202.15 Conditioning Device, Design.**

A water filter, screen, and other water conditioning device installed on water lines shall be designed to facilitate disassembly for

periodic servicing and cleaning. A water filter element shall be of the replaceable type.