|  |  |  |
| --- | --- | --- |
| ***Ventilation*** |  | **6-304.11 Mechanical.**  If necessary to keep rooms free of excessive heat, steam, condensation, vapors, obnoxious odors, smoke, and fumes, mechanical ventilation of sufficient capacity shall be provided. |