|  |  |  |
| --- | --- | --- |
| *location and*  *placement* |  | **5-402.12 Grease Trap.**  If used, a grease trap shall be located to be easily accessible for cleaning. |