|  |
| --- |
| **4-302.12 Food Temperature Measuring Devices.**  (A) Food temperature measuring devices shall be provided and readily accessible for use in ensuring attainment and maintenance of food temperatures as specified under Chapter 3. Pf |
|  |
| (B) A temperature measuring device with a suitable small-diameter probe that is designed to measure the temperature of thin masses shall be provided and readily accessible to accurately measure the temperature in thin foods such as meat patties and fish filets. Pf |

|  |
| --- |
| **4-502.11(B) Good Repair and Calibration.** |
|  |
| (B) Food temperature measuring devices shall be calibrated in accordance with manufacturer's specifications as necessary to ensure their accuracy. Pf |