**5-304.12 Using a Pump and Hoses, Backflow Prevention.**

A person shall operate a water tank, pump, and hoses so that backflow and other contamination of the water supply are prevented.