**4-301.14 Ventilation Hood Systems, Adequacy.**

Ventilation hood systems and devices shall prevent grease or condensation from collecting on EQUIPMENT, walls, and ceilings.